## observations
obs_id | site_id | datetime | year | month | day | hour | minute | second | meter_id | loop | meter_reading | meter_reading_mgal | loop_tdelta | survey_tdelta | calibration_factor | earth_tide_corr | ocean_tide_corr | custom_corr | gravity_corr | meter_reading_converter_id | active | included_in_solution | has_site_solution | gravity_absolute | residual
Avalon_Base_Absolute.1542915840 | Avalon_Base_Absolute | 2018-11-22 19:44 | 2018 | 11 | 22 | 19 | 44 | 0 | G106 | 1 | 3749.647 | 3920.4803 | 0 | 0 | 1.0019 | -0.017514 | 0 | 0 | 3927.9117 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5285 | -0.0075907
Avalon_Base_Absolute.1542915960 | Avalon_Base_Absolute | 2018-11-22 19:46 | 2018 | 11 | 22 | 19 | 46 | 0 | G106 | 1 | 3749.648 | 3920.4814 | 0.033333 | 0.033333 | 1.0019 | -0.015779 | 0 | 0 | 3927.9145 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5314 | -0.0046523
Avalon_Base_Absolute.1542916080 | Avalon_Base_Absolute | 2018-11-22 19:48 | 2018 | 11 | 22 | 19 | 48 | 0 | G106 | 1 | 3749.652 | 3920.4856 | 0.066667 | 0.066667 | 1.0019 | -0.014035 | 0 | 0 | 3927.9205 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5375 | 0.0014418
Avalon_Base_Absolute.1542919440 | Avalon_Base_Absolute | 2018-11-22 20:44 | 2018 | 11 | 22 | 20 | 44 | 0 | G106 | 1 | 3749.594 | 3920.4248 | 1 | 1 | 1.0019 | 0.037056 | 0 | 0 | 3927.9107 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5321 | -0.0039662
Avalon_Base_Absolute.1542919560 | Avalon_Base_Absolute | 2018-11-22 20:46 | 2018 | 11 | 22 | 20 | 46 | 0 | G106 | 1 | 3749.595 | 3920.4259 | 1.0333 | 1.0333 | 1.0019 | 0.038903 | 0 | 0 | 3927.9136 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5351 | -0.00091637
Avalon_Base_Absolute.1542919680 | Avalon_Base_Absolute | 2018-11-22 20:48 | 2018 | 11 | 22 | 20 | 48 | 0 | G106 | 1 | 3749.6 | 3920.4311 | 1.0667 | 1.0667 | 1.0019 | 0.040747 | 0 | 0 | 3927.9207 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5424 | 0.0063259
AC6D.1542923040 | AC6D | 2018-11-22 21:44 | 2018 | 11 | 22 | 21 | 44 | 0 | G106 | 1 | 3651.734 | 3817.9507 | 2 | 2 | 1.0019 | 0.090829 | 0 | 0 | 3825.2956 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980166.9216 | 7.2585e-05
AC6D.1542923160 | AC6D | 2018-11-22 21:46 | 2018 | 11 | 22 | 21 | 46 | 0 | G106 | 1 | 3651.738 | 3817.9549 | 2.0333 | 2.0333 | 1.0019 | 0.092414 | 0 | 0 | 3825.3014 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980166.9275 | 0.0060061
AC6D.1542923280 | AC6D | 2018-11-22 21:48 | 2018 | 11 | 22 | 21 | 48 | 0 | G106 | 1 | 3651.732 | 3817.9486 | 2.0667 | 2.0667 | 1.0019 | 0.093983 | 0 | 0 | 3825.2967 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980166.923 | 0.0014381
AC71.1542925260 | AC71 | 2018-11-22 22:21 | 2018 | 11 | 22 | 22 | 21 | 0 | G106 | 1 | 3748.795 | 3919.5881 | 2.6167 | 2.6167 | 1.0019 | 0.11776 | 0 | 0 | 3927.1531 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980268.782 | -0.0011294
AC71.1542925380 | AC71 | 2018-11-22 22:23 | 2018 | 11 | 22 | 22 | 23 | 0 | G106 | 1 | 3748.8 | 3919.5934 | 2.65 | 2.65 | 1.0019 | 0.11901 | 0 | 0 | 3927.1596 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980268.7886 | 0.0055161
AC71.1542925440 | AC71 | 2018-11-22 22:24 | 2018 | 11 | 22 | 22 | 24 | 0 | G106 | 1 | 3748.802 | 3919.5955 | 2.6667 | 2.6667 | 1.0019 | 0.11963 | 0 | 0 | 3927.1623 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980268.7914 | 0.0083067
Tuturumuri_FES_Absolute.1542930660 | Tuturumuri_FES_Absolute | 2018-11-22 23:51 | 2018 | 11 | 22 | 23 | 51 | 0 | G106 | 1 | 3829.282 | 4003.877 | 4.1167 | 4.1167 | 1.0019 | 0.14857 | 0 | 0 | 4011.633 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980353.2688 | -0.0066546
Tuturumuri_FES_Absolute.1542930780 | Tuturumuri_FES_Absolute | 2018-11-22 23:53 | 2018 | 11 | 22 | 23 | 53 | 0 | G106 | 1 | 3829.288 | 4003.8833 | 4.15 | 4.15 | 1.0019 | 0.14866 | 0 | 0 | 4011.6394 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980353.2753 | -0.0001192
Tuturumuri_FES_Absolute.1542930900 | Tuturumuri_FES_Absolute | 2018-11-22 23:55 | 2018 | 11 | 22 | 23 | 55 | 0 | G106 | 1 | 3829.291 | 4003.8865 | 4.1833 | 4.1833 | 1.0019 | 0.14872 | 0 | 0 | 4011.6426 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980353.2787 | 0.0032416
Tuturumuri_FES_Absolute.1542932640 | Tuturumuri_FES_Absolute | 2018-11-23 00:24 | 2018 | 11 | 23 | 0 | 24 | 0 | G106 | 1 | 3829.294 | 4003.8896 | 4.6667 | 4.6667 | 1.0019 | 0.14643 | 0 | 0 | 4011.6434 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980353.2818 | 0.0063399
Tuturumuri_FES_Absolute.1542932820 | Tuturumuri_FES_Absolute | 2018-11-23 00:27 | 2018 | 11 | 23 | 0 | 27 | 0 | G106 | 1 | 3829.29 | 4003.8854 | 4.7167 | 4.7167 | 1.0019 | 0.14586 | 0 | 0 | 4011.6387 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980353.2773 | 0.0018053
Tuturumuri_FES_Absolute.1542932880 | Tuturumuri_FES_Absolute | 2018-11-23 00:28 | 2018 | 11 | 23 | 0 | 28 | 0 | G106 | 1 | 3829.284 | 4003.8791 | 4.7333 | 4.7333 | 1.0019 | 0.14565 | 0 | 0 | 4011.6322 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980353.2708 | -0.0046146
AC71.1542936240 | AC71 | 2018-11-23 01:24 | 2018 | 11 | 23 | 1 | 24 | 0 | G106 | 1 | 3748.762 | 3919.5536 | 5.6667 | 5.6667 | 1.0019 | 0.12506 | 0 | 0 | 3927.1258 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 0 | 0 | 1 | 980268.7688 | 1.6024
AC71.1542936360 | AC71 | 2018-11-23 01:26 | 2018 | 11 | 23 | 1 | 26 | 0 | G106 | 1 | 3748.768 | 3919.5598 | 5.7 | 5.7 | 1.0019 | 0.12393 | 0 | 0 | 3927.1309 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980268.7741 | -0.0089827
AC71.1542936420 | AC71 | 2018-11-23 01:27 | 2018 | 11 | 23 | 1 | 27 | 0 | G106 | 1 | 3748.778 | 3919.5703 | 5.7167 | 5.7167 | 1.0019 | 0.12335 | 0 | 0 | 3927.1409 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980268.7841 | 0.001006
AC71.1542936720 | AC71 | 2018-11-23 01:32 | 2018 | 11 | 23 | 1 | 32 | 0 | G106 | 1 | 3748.775 | 3919.5672 | 5.8 | 5.8 | 1.0019 | 0.12039 | 0 | 0 | 3927.1347 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980268.7784 | -0.0047167
AC6D.1542938520 | AC6D | 2018-11-23 02:02 | 2018 | 11 | 23 | 2 | 2 | 0 | G106 | 1 | 3651.705 | 3817.9203 | 6.3 | 6.3 | 1.0019 | 0.10044 | 0 | 0 | 3825.2748 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980166.9207 | -0.00078474
AC6D.1542938580 | AC6D | 2018-11-23 02:03 | 2018 | 11 | 23 | 2 | 3 | 0 | G106 | 1 | 3651.7 | 3817.9151 | 6.3167 | 6.3167 | 1.0019 | 0.09969 | 0 | 0 | 3825.2688 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980166.9148 | -0.0066994
AC6D.1542938640 | AC6D | 2018-11-23 02:04 | 2018 | 11 | 23 | 2 | 4 | 0 | G106 | 1 | 3651.707 | 3817.9224 | 6.3333 | 6.3333 | 1.0019 | 0.098937 | 0 | 0 | 3825.2754 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980166.9215 | -3.4371e-05
Avalon_Base_Absolute.1542941700 | Avalon_Base_Absolute | 2018-11-23 02:55 | 2018 | 11 | 23 | 2 | 55 | 0 | G106 | 1 | 3749.554 | 3920.3829 | 7.1833 | 7.1833 | 1.0019 | 0.057109 | 0 | 0 | 3927.8888 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5388 | 0.0028167
Avalon_Base_Absolute.1542941760 | Avalon_Base_Absolute | 2018-11-23 02:56 | 2018 | 11 | 23 | 2 | 56 | 0 | G106 | 1 | 3749.555 | 3920.384 | 7.2 | 7.2 | 1.0019 | 0.05621 | 0 | 0 | 3927.8889 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5391 | 0.0030435
Avalon_Base_Absolute.1542941880 | Avalon_Base_Absolute | 2018-11-23 02:58 | 2018 | 11 | 23 | 2 | 58 | 0 | G106 | 1 | 3749.557 | 3920.3861 | 7.2333 | 7.2333 | 1.0019 | 0.054406 | 0 | 0 | 3927.8892 | <bound method LaCosteRombergDialConverter.converter_id of <gsolve.meter_conversion.LaCosteRombergDialConverter object at 0x000002970E2A8C50>> | 1 | 1 | 1 | 980269.5395 | 0.0034921

## sites
site_id | longitude | latitude | height_ellipsoidal | reference_gravity | gsolve_tie | n_obs_input | n_obs_used | absolute_gravity | variance | stdev | stderr
Tuturumuri_FES_Absolute | 175.4714 | -41.4271 | 130 | 980351.624 | 1 | 6 | 6 | 980351.624 | 2.6144e-05 | 0.0051131 | 0.0020874
Avalon_Base_Absolute | 174.9328 | -41.1962 | 21 | 980267.919 | 1 | 9 | 9 | 980267.919 | 2.6144e-05 | 0.0051131 | 0.0017044
AC6D | 175.232 | -41.1145 | 554.9 |  | 0 | 6 | 6 | 980165.3468 | 2.7709e-05 | 0.005264 | 0.002149
AC71 | 175.3761 | -41.1188 | 42.5 |  | 0 | 6 | 6 | 980267.1664 | 7.7355e-06 | 0.0027813 | 0.0011355

## loops
loop | n_obs_input | n_obs_used | drift | baseline
1 | 27 | 27 | 0.0046383 | 976341.6167

## metadata
parameter | value
method | 2
use_loops | TRUE
calculate_calibration_factor | TRUE
percentile_clipping | 100
gsolve_run_datetime | 2024-10-08 03:02:49
gsolve_version | 5.0.0
timedelta_datum | loop_t0
timedelta_unit | h